## Kelompok M
No. Urut | NO. KODE ALAT | NAMA ALAT | SPESIFIKASI | NO. SERI | TH. DIPAKAI | LOKASI | KONDISI | LOAD
(Rting/kapasitas, tegangan, arus, kelas, tipe, pabrikan)
1 | 4M001 | Amperemeter AC | Julat : 0 – 1 – 5 A | M315K87/1963 | 1963 | Lab. Inst | Baik | Jarang sekali
Kelas : 0,5
Tipe : SPF
Pabrikan : YEW
2 | 4M002 | Amperemeter AC | Julat : 0 – 1 – 5 A | M315K68/1963 | 1963 | Lab. Inst | Baik | Jarang sekali
Kelas : 0,5
Tipe : SPF
Pabrikan : YEW
3 | 4M003 | Amperemeter AC | Julat : 0 – 1 – 5 – 20 – 50 A | M217J94/1962 | 1962 | Lab. Inst | Baik | Jarang sekali
Kelas : 0,5
Tipe : SPF
Pabrikan : YEW
4 | 4M004 | Milisecond Counter | Julat : 0-999,9 ms – 999,9 s | 35011 | 1983 | Lab. Inst | Baik | Jarang sekali
Resolusi : 0,1 ms
Tegangan : 5 – 250 V AC/DC
Kelas : ±0,01% of rdg ± 1 digit
Tipe : MCS – 5N
Pabrikan : KDK
5 | 4M005 | Milisecond Counter | Julat : 0-999,9 ms – 999,9 s | 35295 | 1983 | Lab. Inst | Baik | Jarang sekali
Resolusi : 0,1 ms
Tegangan : 5 – 250 V AC/DC
Kelas : ±0,01% of rdg ± 1 digit
Tipe : MCS – 5N
Pabrikan : KDK
6 | 4M006 | Phase Angle Meter | Julat : 0-360⁰; 0,3-600V;0,01-16A | 81762229 | - | Lab. Inst | Baik | Jarang sekali
Kelas : -
Tipe : VMG-50
Pabrikan : BAUR
7 | 4M007 | Phase Angle Meter | Julat : 0-360⁰; 0,3-600V;0,01-16A | 81762230 | - | Lab. Inst | Baik | Jarang sekali
Kelas : -
Tipe : VMG-50
Pabrikan : BAUR
8 | 4M008 | Wheatstone bridge | Julat : 1 mW - 10 MW | 61VN0087/- | 2001 | Lab. Inst | Baik | Jarang sekali
Multiply : 0,001-0,01-0,1-1-10-100-1000
: M10-M100-M10000
Kelas : 0,6 % rdg
Tipe : 275597
Pabrikan : YEW
9 | 4M009 | Insulation Tester | Julat : 0-1000GΩ ; 500-5000 V | 30903/3393 | 2004 | Lab. Inst | Rusak sebagian | Jarang sekali
Kelas : -
Tipe : BM-25
Pabrikan : AVO-Megger
10 | 4M010 | Clamp On Meter | Julat : 0,1-750V;0,1-1000A;1-40Ω | 1202549 | 2001 | Lab. Inst | Rusak | Jarang
Kelas : V = ± 2% rdg + 30
I = ± 2,6% rdg + 30
Ω = ± 2% rdg + 30
Tipe : 234304
Pabrikan : YEW
Fungsi : Vac, Aac, Ω
11 | 4M011 | Oscilograph Recorder | Kelas : - | 12A817727 | 2001 | Lab. Inst | Baik | Jarang
Tipe : OR300E
Model : OR342-2
Pabrikan : YEW
Input : 0-600V
Lenght : 0.5, 1, 2, 3, 4 m (short lenght)
Speed : 10, 20, 50, 100, 200 (cm/mn; cm/s)
Timing : 0.01, 0.1, 1 (s)
12 | 4M012 | Multimeter Digital | Julat : A = 0-300mA ; 0-10A | 55080230 | 1993 | Dedy S. | Baik. | Sering
V = 0-750Vac ; 0-1000Vdc
Kelas : V dc = ± 0.4% rdg + 1 dgt
V ac = ± 2% rdg + 2 dgt
Ω = ± 2% rdg + 1 dgt
I ac = ± 2.5% rdg + 2 dgt
Idc = ± 1.5% rdg + 2 dgt
Tipe : 77
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep
13 | 4M013 | Multimeter Digital | Julat : A = 0-320mA ; 0-10A | 6249021 | 1993 | Agung | Baik | Sering
V = 0-1000V ; 0-300mV
R = 0-300Ω – 300kΩ – 30MΩ
Kelas : V dc = ± 0.1% rdg + 1 dgt
V ac = ± 0.5% rdg + 3 dgt
Ω = ± 1% rdg + 1 dgt
I ac = ± 1.5% rdg + 2 dgt
Idc = ± 0.75% rdg + 2 dgt
Tipe : 27
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep, μA
14 | 4M014 | Multimeter Digital | Julat : A = 0-320mA ; 0-10A | 6589022 | 1996 | Lab. Inst | Baik | Sering
V = 0-1000V ; 0-300mV
R = 0-300Ω – 300kΩ – 30MΩ
Kelas : V dc = ± 0.1% rdg + 1 dgt
V ac = ± 0.5% rdg + 3 dgt
Ω = ± 1% rdg + 1 dgt
I ac = ± 1.5% rdg + 2 dgt
Idc = ± 0.75% rdg + 2 dgt
Tipe : 27
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep, μA
15 | 4M015 | Multimeter Digital | Julat : A = 0-320mA ; 0-10A | 6589021 | 1996 | Lab. SCADA | Baik | Sering
V = 0-1000V ; 0-300mV
R = 0-300Ω ; 0-300kΩ ; 0-30MΩ
Kelas : V dc = ± 0.1% rdg + 1 dgt
V ac = ± 0.5% rdg + 3 dgt
Ω = ± 1% rdg + 1 dgt
I ac = ± 1.5% rdg + 2 dgt
Idc = ± 0.75% rdg + 2 dgt
Tipe : 27
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep, μA
16 | 4M016 | Multimeter Digital | Julat : I = 0-6000μA ; 0-600mA ; 0-10A | 13950133 | 2010 | Lab. Inst | Baik | Sering
V = 0-600mV ; 0-1000V
R = 0-600Ω ; 0-600kΩ ; 0-60MΩ
C = 0-100ηF ; 0-100μF ; 9.999μF
Temp (Excl Probe) = -200-1090⁰C
-328-1994⁰F
Temp (80BK Probe) = -40-260⁰C
-40-500⁰F
Freq = 199.99Hz ; 1.9999kHz
Kelas : V dc = ± 0.5%
V ac = ± 0.7% (True-rms)
Ω = ± 0.2%
I ac = ± 0.2%
Idc = ± 0.1% (True-rms)
Capasitance = ± 1.0%
Temp (Excl Probe) = ± 1.0%
Temp (80BK Probe) = ± 2.2⁰C / 2%
Hz = ± 0.005%
Tipe : 87V
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep, ⁰C
17 | 4M017 | Multimeter Digital | Julat : I = 0-6000μA ; 0-600mA ; 0-10A | 14750423 | 2010 | Lab. Inst | Baik | Sering
V = 0-600mV ; 0-1000V
R = 0-600Ω ; 0-600kΩ ; 0-60MΩ
C = 0-100ηF ; 0-100μF ; 9.999μF
Temp (Excl Probe) = -200-1090⁰C
-328-1994⁰F
Temp (80BK Probe) = -40-260⁰C
-40-500⁰F
Freq = 199.99Hz ; 1.9999kHz
Kelas : V dc = ± 0.5%
V ac = ± 0.7% (True-rms)
Ω = ± 0.2%
I ac = ± 0.2%
Idc = ± 0.1% (True-rms)
Capasitance = ± 1.0%
Temp (Excl Probe) = ± 1.0%
Temp (80BK Probe) = ± 2.2⁰C / 2%
Hz = ± 0.005%
Tipe : 87V
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep, ⁰C
18 | 4M018 | Multimeter Digital | Julat : A = 0-300mA ; 0-10A | 14000476 | 2010 | Lab. Inst | Baik | Sering
V = 0-750Vac ; 0-1000Vdc
Kelas : V dc = ± 0.4% rdg + 1 dgt
V ac = ± 2% rdg + 2 dgt
Ω = ± 2% rdg + 1 dgt
I ac = ± 2.5% rdg + 2 dgt
Idc = ± 1.5% rdg + 2 dgt
Tipe : 179
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep
19 | 4M019 | Multimeter Digital | Julat : A = 0-300mA ; 0-10A | 14000477 | 2010 | Lab. Inst | Baik | Sering
V = 0-750Vac ; 0-1000Vdc
Kelas : V dc = ± 0.4% rdg + 1 dgt
V ac = ± 2% rdg + 2 dgt
Ω = ± 2% rdg + 1 dgt
I ac = ± 2.5% rdg + 2 dgt
Idc = ± 1.5% rdg + 2 dgt
Tipe : 179
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep
20 | 4M020 | Multimeter Digital | Julat : A = 0-300mA ; 0-10A | 14000478 | 2010 | Lab. Inst | Baik | Sering
V = 0-750Vac ; 0-1000Vdc
Kelas : V dc = ± 0.4% rdg + 1 dgt
V ac = ± 2% rdg + 2 dgt
Ω = ± 2% rdg + 1 dgt
I ac = ± 2.5% rdg + 2 dgt
Idc = ± 1.5% rdg + 2 dgt
Tipe : 179
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep
21 | 4M021 | Multimeter Digital | Julat : A = 0-320mA ; 0-10A | 75411165 | 2001 | Lab. RTDS | Baik | Sering
V = 0-600Vac ; 0-1000Vdc
Kelas : V dc = ± 0.3% rdg + 1 dgt
V ac = ± 2% rdg + 2 dgt
Ω = ± 0.5% rdg + 2 dgt
I ac = ± 2.5% rdg + 2 dgt
Idc = ± 1.5% rdg + 2 dgt
Tipe : 77-III
Pabrikan : Fluke
Fungsi : Vac, Vdc, Iac, Idc, Ω, Beep

## Kelompok T
No. Urut | NO. KODE ALAT | NAMA ALAT | SPESIFIKASI | NO. SERI | TH. DIPAKAI | LOKASI | KONDISI | LOAD
(Rting/kapasitas, tegangan, arus, kelas, tipe, pabrikan)
1 | 4T001 | Contact Resistance test set | Input : 1 fasa ; 220V ; 50Hz | E665/- | 1992 | Lab. Inst | Baik | Jarang
Output : 0-1999μΩ
0-100-200-300-400-500-600A
Kelas : ± 1% rdg + 1 dgt
Tipe : 600A
Pabrikan : Programma
2 | 4T002 | Relai Test Set 1 phasa | Input : 1 fasa ; 220V ; 50Hz | 9040386 | 1992 | Lab. Inst | Baik | Jarang
Output : 0-10-40-100Aac
0-250Vac ; 110Vac
0-350Vdc ; 20-220Vdc
Kelas : -
Tipe : Sverker 650
Pabrikan : Programma
3 | 4T003 | Relai Test Set 3 phasa | Input : 1 fasa ; 220V ; 50Hz | 120702666 | 2008 | Lab. Inst | Rusak sebagian | Jarang sekali
Output : 3x150VA = 75, 150, 300V
6x75VA = 75, 150V
3x150VA = 7.5, 15, 30A
6x75VA = 7.5, 15A
1x450VA = 7.5, 15, 22.5, 30, 45, 90A
0-360⁰
Kelas : V = ± 0.02% typical
I = ± 0.02% typical
Ph.Ang. = ± 0.1⁰ typical
F = ± 0.5 PPM
Tipe : F6150
Pabrikan : Doble
4 | 4T004 | Relai Test Set 3 phasa | Input : 1 fasa ; 220V ; 50Hz | 3500986 | 2004 | Lab. Inst | Rusak sebagian | Jarang sekali
Output : 0-15Aac
0-250Vac
0-360⁰
0-9.9ms/10ms-60 min/1h-15264h
Kelas : 0.01%
Tipe : Freja300
Pabrikan : Programma
5 | 4T005 | Primary Injection Current | Input : 1 fasa ; 220V ; 50Hz | 28186/- | - | Lab. Inst | Rusak sebagian | Jarang
Output : 0-10-25-50-100-500A
1kVA
Kelas : -
Tipe : LB-10A-E
Pabrikan : Multi-Amp
6 | 4T006 | Primary Injection Current | Input : 1 fasa ; 220V ; 50/60Hz | 8501341 | 2008 | Lab. Inst | Baik | Jarang sekali
Output : Units in Paralel = 0-1600A
0-320A / 28V (continuous)
0-1600A / 17V (2 sec)
Units in Series = 0-800A
0-160A / 54V (continuous)
0-800A / 33V (2 sec)
Units in Series = 0-400A
0-80A / 120V (continuous)
0-400A / 67V (2 sec)
Julat : A1 = 0-4800A / 0-15kA
A1 = 0-9600A / 0-30kA
A1 = 0-960A / 0-3kA
A2 = 0-2A / 0-20A
Timer = 0-99999s ; 0-9999 cycles ;
0.001s-99h59min
0-359⁰
Ph.Ang. = ±2⁰
Kelas : Iac = ±1% of range±digit
Vac = ±1% of range±digit
Tim = ± 1 digit + 0.01% of value
Tipe : ODEN AT
Pabrikan : Programma
7 | 4T007 | CT Analyzer | Pengukuran tahanan belitan : | GK712B | 2011 | Lab. Inst | Baik | Jarang
Resolusi 1mΩ
Accuracy 0.1% + 1mΩ
Pengukuran Rasio nominal 1A :
Rasio 0.2-1, Accuracy 0.1%
Rasio 1-2000, Accuracy 0.05%
Rasio 2000-5000, Accuracy 0.1%
Rasio 5000-10000, Accuracy 0.2%
Pengukuran Rasio nominal 5A :
Rasio 0.2-1, Accuracy 0.1%
Rasio 1-2000, Accuracy 0.05%
Rasio 2000-5000, Accuracy 0.1%
Rasio 5000-10000, Accuracy 0.2%
Pengukuran phasa pada nominal arus :
Resolusi 0.01 min
Accuracy (cosΦ0.8-1) 3min
Pengukuran belitan
Accuracy 0.1%
Pabrikan : Omicron
8 | 4T008 | Earth Tester | Tegangan : ±25V atau 50V pada 94Hz, 105Hz, | 1342 | 2012 | Lab. Inst | Baik | Jarang
111Hz dan 128Hz
Arus : 4.5 mA atau 0.45mA atau 0.045mA
Julat : clamp arus ground 0.5mA-19.9A
Kelas 5%±3 digit
Tegangan Ground 0-100Vac
Kelas 2%±2V
Resistan 0.01Ω-200kΩ
Kelas 2%±3 digit
Tipe : DET4TCR2
Pabrikan : Megger
9 | 4T009 | CT Analyzer | Pengukuran tahanan belitan : | JC276D | 2012 | Lab. Inst | Baik | Jarang
Resolusi 1mΩ
Accuracy 0.1% + 1mΩ
Pengukuran Rasio nominal 1A :
Rasio 0.2-1, Accuracy 0.1%
Rasio 1-2000, Accuracy 0.05%
Rasio 2000-5000, Accuracy 0.1%
Rasio 5000-10000, Accuracy 0.2%
Pengukuran Rasio nominal 5A :
Rasio 0.2-1, Accuracy 0.1%
Rasio 1-2000, Accuracy 0.05%
Rasio 2000-5000, Accuracy 0.1%
Rasio 5000-10000, Accuracy 0.2%
Pengukuran phasa pada nominal arus :
Resolusi 0.01 min
Accuracy (cosΦ0.8-1) 3min
Pengukuran belitan
Accuracy 0.1%
Pabrikan : Omicron
10 | 4T010 | Earth Tester | Tegangan : ±25V atau 50V pada 94Hz, 105Hz, | 100-378/101127260 | 2012 | Lab. Inst | Baik | Jarang
111Hz dan 128Hz
Arus : 4.5 mA atau 0.45mA atau 0.045mA
Julat : clamp arus ground 0.5mA-19.9A
Kelas 5%±3 digit
Tegangan Ground 0-100Vac
Kelas 2%±2V
Resistan 0.01Ω-200kΩ
Kelas 2%±3 digit
Tipe : DET4TCR2
Pabrikan : Megger
11 | 4T011 | Transformer Turn Ratio (TTR) | Input : 100-240 Vac, 50/60Hz, 2A | 20235 | 2012 | Lab. Inst. | Baik. | Jarang sekali
Output : 8Vac @ 1A
40Vac @ 0.2A
100Vac @ 0.1A
Julat : 8Vac
0.8-1999 kelas 0.1%
2000-3999 kelas 0.25%
4000-15000 kelas 1%
40Vac
0.8-1999 kelas 0.1%
2000-3999 kelas 0.20%
4000-15000 kelas 1%
40Vac
0.8-1999 kelas 0.1%
2000-3999 kelas 0.15%
4000-15000 kelas 1%
Tipe : ATRT-03 S2
Pabrikan : Vanguard
12 | 4T012 | Relai Test Set 3 phasa | Input : 100-240Vac, 50/60 Hz | FC598K | 2012 | Lab. SCADA | Baik | Full
Julat : Idc 0-±20mA kelas 0.003% of rg
Vdc 0-±10V kelas 0.003% of rg
10 Hz – 100 Hz kelas 0.3%
10 Hz – 1 kHz kelas 0.5%
10 Hz – 10 kHz kelas 2%
Tipe : CMC356
Pabrikan : Omicron
13 | 4T013 | Relai Test Set 3 phasa | Input : 100-240Vac, 50/60 Hz | EH545J | 2012 | Lab. Inst. | Baik | Full
Julat : Idc 0-±20mA kelas 0.003% of rg
Vdc 0-±10V kelas 0.003% of rg
10 Hz – 100 Hz kelas 0.3%
10 Hz – 1 kHz kelas 0.5%
10 Hz – 10 kHz kelas 2%
Tipe : CMC356
Pabrikan : Omicron
14 | 4T014 | Micro-Ohmmeter | Input : 100-120/200-240Vac, 50/60Hz | 1290885 | 2012 | Lab. Inst. | Baik | Sering
Output : 5-600Adc, 5.25V, 80mVpp,
28.3mVrms
Julat : 1-999.9mΩ
Kelas : 1%
Tipe : Mjolner
Pabrikan : Megger
15 | 4T015 | Insulation Tester | Input : 85-265Vrms, 50/60Hz, 60VA | 1000-378/120212/2194 | 2012 | Lab. Inst. | Rusak sebagian | Full
Julat : 50V-1kV naik 10V
1kV-10kV naik 25V
Kelas : 2TΩ kelas 5%
20TΩ kelas 20%
5nF kelas 5%
Arus 5%
Tipe : MIT 1020/2
Pabrikan : Megger
16 | 4T016 | Relai Test Set 1 phasa | Input : 100-240Vac, 47/63Hz, 600VA | 201205070023 | 2012 | Lab. Inst. | Baik | Jarangt.
Output : 15-60A, 300V
Julat : Vac kelas 0.05% reading +
0.02% range typical
Vac kelas 0.15% reading +
0.05% range maximum
Iac kelas 0.05% reading +
0.02% range typical
Iac kelas 0.15% reading +
0.05% range maximum
Vdc kelas 0.1% range typical
Vdc kelas 0.25% range maximum
Idc kelas 0.05% reading +
0.02% range typical
Tipe : SMRT1
Pabrikan : Megger
17 | 4T017 | CB Analyzer | Input : 100-240Vac, 50/60Hz, 250VA | 1200702 | 2012 | Lab. Inst. | Baik | Sering
Output : 5-600Adc, 5.25V, 80mVpp,
28.3mVrms
Julat : 0.03% rd + 0.01% rg typ at 0-300V
0.08% rd + 0.02% rg guar at 0-300V
0.05% rd + 0.02% rg typ at 0-32A
0.05% rd + 0.02% rg guar at 0-32A
0.025% typ at 1-10Vpk
0.07% guar at 1-10Vpk
0.003% typ (Arus & Teg. Input dc)
0.02% gaur (Arus & Teg. Input dc)
Tipe : TM1800
Pabrikan : Megger
18 | 4T018 | Regulated Power Supply DC | Input : 220V, 50Hz | 48062535 | 2000 | Lab. Inst. | Baik | Jarang
Output : 0-110Vdc, 0-0.6A
Kelas : -
Tipe : PAB
Pabrikan : KIKUSUI
19 | 4T019 | Regulated Power Supply DC | Input : 220V, 50Hz | 48062536 | 2000 | Lab. Inst. | Baik | Jarang
Output : 0-110Vdc, 0-0.6A
Kelas : -
Tipe : PAB
Pabrikan : KIKUSUI
20 | 4T020 | CB Analyzer | Input : 100-240Vac, 50/60Hz, 250VA | 1300084 | 2013 | Lab. Inst. | Baik | Sering
Output : 5-600Adc, 5.25V, 80mVpp,
28.3mVrms
Julat : 0.03% rd + 0.01% rg typ at 0-300V
0.08% rd + 0.02% rg guar at 0-300V
0.05% rd + 0.02% rg typ at 0-32A
0.05% rd + 0.02% rg guar at 0-32A
0.025% typ at 1-10Vpk
0.07% guar at 1-10Vpk
0.003% typ (Arus & Teg. Input dc)
0.02% gaur (Arus & Teg. Input dc)
Tipe : TM1780
Pabrikan : Megger
21 | 4T021 | Micro-Ohmmeter | Input : 100-120/200-240Vac, 50/60Hz | 1291002 | 2013 | Lab. Inst. | Baik | Sering
Output : 5-600Adc, 5.25V, 80mVpp,
28.3mVrms
Julat : 1-999.9mΩ
Kelas : 1%
Tipe : Mjolner
Pabrikan : Megger
22 | 4T022 | Relai Test Set 1 phasa | Input : 115-230 Vac, 50/60Hz | 1301289 | 2013 | Lab. Inst. | Baik | Jarang
Output : 0-120Vdc, 0-250Vac, 0-1A
Kelas : -
Tipe : SVERKER780
Pabrikan : Megger

## Kelompok I
No. Urut | NO. KODE ALAT | NAMA ALAT | SPESIFIKASI | NO. SERI | TH. DIPAKAI | LOKASI | KONDISI | LOAD
(Rting/kapasitas, tegangan, arus, kelas, tipe, pabrikan)
1 | 4I002 | Thermo-Hygrometer Clock | Julat : -10-0-50⁰C, 0-100% | - | 2010 | Lab. Inst | Baik | Full
Kelas : -
Tipe : ATH01
Pabrikan : Adite
2 | 4I004 | Phase Sequence | Julat : 110-600V, 50/60Hz | 0657348/- | 1998 | Lab. Inst | Baik | Full
Kelas : -
Tipe : 8031
Pabrikan : Kyoritsu
3 | 4I005 | Thermo-Hygrometer Clock | Julat : -10-0-60⁰C, 10-85% | - | 2013 | Lab. SCADA | Baik | Full
Kelas : -
Tipe : 445702
Pabrikan : Extech
4 | 4I006 | Thermo-Hygrometer Clock | Julat : -10-0-60⁰C, 10-85% | - | 2013 | Lab. Power System | Baik | Full
Kelas : -
Tipe : 445702
Pabrikan : Extech
5 | 4I007 | Thermo-Hygrometer Clock | Julat : -10-0-60⁰C, 10-85% | - | 2013 | Lab. RTDS | Baik | Full
Kelas : -
Tipe : 445702
Pabrikan : Extech

## NON KAN
No. Urut | NO. KODE ALAT | NAMA ALAT | SPESIFIKASI | NO. SERI | TH. DIPAKAI | LOKASI | KONDISI | LOAD
(Rting/kapasitas, tegangan, arus, kelas, tipe, pabrikan)
1 | 4T100 | RTDS Simulator | jumlah rack : 4 |  |  | Lab RTDS |  | Full
Tipe rack : medium rack
|  |  | Cubible 1 |  | 2013
Rack 1:
|  |  | - Giga Processor Cards (GPC) | 01016192, 01016189, 01016093 |  |  | Baik
|  |  | - Triple Processor Cards (3PC) | 11045, 11027, 11018,11038 |  |  | Baik
|  |  | - Workstation Interface Cards (WIF) | 00402057 ganged with CLLF 67633 |  |  | Baik
|  |  | - Giga Transceiver net Card (GTNET) | 02024 |  |  | Baik
Rack 2:
|  |  | - Giga Processor Cards (GPC) | 01015184, 01015162, 01015145 |  |  | Baik
|  |  | - Triple Processor Cards (3PC) | 11044, 11016, 11002, 11024 |  |  | Baik
|  |  | - Workstation Interface Cards (WIF) | 00401018 ganged with CLLF 62913 |  |  | Baik
|  |  | - Giga Transceiver net Card (GTNET) | 00207042 |  |  | Baik
Auxiliary component for cubicle 1
|  |  | - Giga Transceiver Digital Input Card (GTDI) | 04072 |  |  | Baik
|  |  | - Giga Transceiver Digital Output Card (GTDO) | 02202037 |  |  | Baik
|  |  | - Giga Transceiver Analog Input Card (GTAI) | 02005009 |  |  | Baik
|  |  | - Giga Transceiver Analog Output Card (GTAO) | 04067, 04080 |  |  | Baik
|  |  | - Giga Transceiver Front Panel Interface (GTFPI) | 02504033 |  |  | Baik
|  |  | - Sola PWR 20 Rack Power Supply | 1529P007, 1529P038 |  |  | Baik
|  |  | - Global Bus Hub (GBH) | 04012 ganged with CLLF 59126 |  |  | Baik
|  |  | - Ethernet Hub Allied Telesis | A04358R142501325B1 |  |  | Baik
|  |  | - Digital Panel I/O | DIO-0157 |  |  | Baik
|  |  | - HV Panel | HV01-054 |  |  | Baik
|  |  | - Sola 24 Vdc 4.2 Amp power supply | PWR12-0148 |  |  | Baik
|  |  | - Sola 24 Vdc 1.5 Amp power supply | PWR11-0148 |  |  | Baik
Cubible 2
Rack 3:
|  |  | - Giga Processor Cards (GPC) | 01015037, 01015122, 01015193 |  |  | Baik
|  |  | - Triple Processor Cards (3PC) | 1.1042e+19 |  |  | Baik
|  |  | - Workstation Interface Cards (WIF) | 00401027 ganged with CLLF 62884 |  |  | Baik
|  |  | - Inter-Rack communication Cards (IRC) | 00207010 |  |  | Baik
|  |  | - Giga Transceiver net Card (GTNET) | 03006 |  |  | Baik
Rack 4:
|  |  | - Giga Processor Cards (GPC) | 1.4021e+20 |  |  | Baik
|  |  | - Triple Processor Cards (3PC) | 11039, 11049,11028,11036 |  |  | Baik
|  |  | - Workstation Interface Cards (WIF) | 06006 ganged with CLLF 59151 |  |  | Baik
|  |  | - Giga Transceiver net Card (GTNET) | 00207005 |  |  | Baik
Auxiliary component for cubicle 2
|  |  | - Giga Transceiver Digital Input Card (GTDI) | 04045 |  |  | Baik
|  |  | - Giga Transceiver Digital Output Card (GTDO) | 02202046 |  |  | Baik
|  |  | - Giga Transceiver Analog Input Card (GTAI) | 02005095 |  |  | Baik
|  |  | - Giga Transceiver Analog Output Card (GTAO) | 04083, PR02401176 |  |  | Baik
|  |  | - Giga Transceiver Front Panel Interface (GTFPI) | 02504041 |  |  | Baik
|  |  | - Sola PWR 20 Rack Power Supply | 1437P001, 1437P015 |  |  | Baik
|  |  | - Digital Panel I/O | DIO-0158 |  |  | Baik
|  |  | - HV Panel | HV01-055 |  |  | Baik
|  |  | - Sola 24 Vdc 4.2 Amp power supply | PWR12-0147 |  |  | Baik
|  |  | - Sola 24 Vdc 1.5 Amp power supply | PWR11-0147 |  |  | Baik
Amplifier
|  |  | - Omicron CMS 156 | PA 478 L |  |  | Baik
|  |  | - Omicron CMS 156 | PA 485 L |  |  | Baik
|  |  | - Omicron CMA 156 | PA 043 M |  |  | Baik
|  |  | - Omicron CMA 156 | PA 035 M |  |  | Baik
|  |  | - Omicron CMA 156 | PA 019 M |  |  | Baik
|  |  | - Omicron CMS 356 | BF 169 T | 2017 |  | Baik
2 | 4T101 | SOGI 1 | Ethernet Switch 1 : | R21-0813-82862 | 2012 | Lab SCADA | Baik | Full
Merek : Ruggedcom
Tipe : RSG2100NC
|  |  | Ethernet Switch 2 : | R21-0813-82861 |  |  | Baik
Merek : Ruggedcom
Tipe : RSG2100NC
|  |  | Gateway : | 32190378/06/12 |  |  | Tidak Baik (Perlu Down Grade)
Merk : Alstom
Tipe : C264
Versi Firmware : B6.58
|  |  | IED BCU | 32482801/03/13 |  |  | Tidak Baik (Perlu Down Grade)
Merk : Alstom
Tipe : C264
Versi Firmware : B6.58
|  |  | IED Proteksi Line Distance | 32499324/04/13 |  |  | Baik
Merk : Alstom
Tipe : P442
Versi Firmware : V.55
|  |  | IED Proteksi Line Differrential | 32481605/03/13 |  |  | Baik
Merk : Alstom
Tipe : P545
Versi Firmware : V.57
|  |  | IED Proteksi Transformer Differential | 32499323/04/13 |  |  | Baik
Merk : Alstom
Tipe : P643
Versi Firmware : V.04
|  |  | IED Proteksi Overcurrent | 32499326/04/13 |  |  | Baik
Merk : Alstom
Tipe : P141
Versi Firmware : V.46
|  |  | IED Proteksi Busbar Protection | 32499325/04/13 |  |  | Baik
Merk : Alstom
Tipe : P746
Versi Firmware : V.03
Local HMI
|  |  | Server - Advantech ACP-4000 | C7430FC01M00132 |  |  | Tidak Baik (Sering hang)
Runtime Server : DS Agile Versi 5 - OI Server, DS Agile Versi 5 - OI Client
|  |  | Workstation - Advantech ACP-2320 | KMA1398809 |  |  | Tidak Baik (Sering hang)
Runtime HMI : DS Agile Versi 5 - OI Client
Konfigurator Server/HMI & BCU : DS Agile - SCE Versi 5.14.6.0, DS Agile - SMT Versi R30-K.04.08, CMT Versi 5.0.7.0
Konfigurator IED Proteksi : MiCOM Alstom S1 Versi M4.2R
|  |  | UPS | G203D05024 |  |  | Baik
Merk : Eaton
Tipe : 9PX 6000
|  |  | DC Power Supply | YK-AD15010 20130531 |  |  | Baik
Merk : YK
Tipe : YK-AD15010
3 | 4T102 | SOGI 2 | Ethernet Switch 1 : | S3MOT13040044 | 2012 | Lab SCADA | Baik | Full
Merek : Kyland
Tipe : SICOM3024P
|  |  | Ethernet Switch 2 : | S3MOT13040043 |  |  | Baik
Merek : Kyland
Tipe : SICOM3024P
|  |  | Gateway : | 168970 |  |  | Baik
Merk : Schneider
Tipe : C264
Versi Firmware : B7.30
|  |  | IED BCU | 16871 |  |  | Baik
Merk : Schneider
Tipe : C264
Versi Firmware : B7.30
|  |  | IED Proteksi Line Distance | 36208975/11/12 |  |  | Tidak Baik (Card Komunikasi Rusak)
Merk : Schneider
Tipe : P442
Versi Firmware : V.50
|  |  | IED Proteksi Line Differrential | 36208976/11/12 |  |  | Tidak Baik (Card Komunikasi Rusak)
Merk : Schneider
Tipe : P543
Versi Firmware : V.57
|  |  | IED Proteksi Transformer Differential | 36209736/10/12 |  |  | Baik
Merk : Schneider
Tipe : P642
Versi Firmware : V.02
|  |  | IED Proteksi Overcurrent | 36208974/10/12 |  |  | Baik
Merk : Schneider
Tipe : P142
Versi Firmware : V.44
|  |  | IED Proteksi Busbar Protection | 36209601/10/12 |  |  | Baik
Merk : Schneider
Tipe : P746
Versi Firmware : V.03
Local HMI
|  |  | Server - Advantech ACP-4000 | KMA 1257614 |  |  | Tidak Baik (Sering Hang)
Runtime Server : Pacis Versi K.02.03 - OI Server, Pacis Versi K.02.03 - OI Client
|  |  | Workstation - Advantech ACP-2320 | KMA 1257614 |  |  | Tidak Baik (Sering Hang)
Runtime HMI : Pacis Versi K.02.03 - OI Client
Konfigurator Server/HMI & BCU : Pacis - SCE Versi 4.85.04, Pacis - SMT Versi R3.0-K05.8, CAT Versi A1.20
Konfigurator IED Proteksi : MiCOM S1 Pacis Versi M5.3B
|  |  | DC Power Supply | - |  |  | Baik
Merk : TDK-Lambda
Tipe : VADD 1200-110
4 | 4T103 | SOGI 3 | Ethernet Switch 1 : | 630301129 | 2012 | Lab SCADA | Baik | Full
Merek : Garrettcom
Tipe : 10KT-TF(UL)-20562-2
|  |  | Ethernet Switch 2 : | 630301130 |  |  | Baik
Merek : Garrettcom
Tipe : 10KT-TF(UL)-20562-2
|  |  | Gateway : | D400-SYS-000359 |  |  | Baik
Merk : GE
Tipe : D400
Versi Firmware : V.320
|  |  | IED BCU | 81913201 |  |  | Baik
Merk : GE
Tipe : F650
Versi Firmware : V.620
|  |  | IED Proteksi Line Distance | AABC1300434 |  |  | Baik
Merk : GE
Tipe : D60
Versi Firmware : V.6.0
|  |  | IED Proteksi Line Differrential | AABC1300307 |  |  | Baik
Merk : GE
Tipe : L90
Versi Firmware : V.6.0
|  |  | IED Proteksi Transformer Differential | AABC1300368 |  |  | Baik
Merk : GE
Tipe : T60
Versi Firmware : V.6.0
|  |  | IED Proteksi Overcurrent | AABC1300276 |  |  | Baik
Merk : GE
Tipe : F35
Versi Firmware : V.6.0
|  |  | IED Proteksi Busbar Protection | AABC1300112 |  |  | Baik
Merk : GE
Tipe : B90
Versi Firmware : V.6.0
Local HMI
|  |  | Server - Advantech ACP-4000 | KMA 127 4931 |  |  | Baik
Dongle : Dongle SISCO (IEC61850) No.59457AM61, Dongle iFIX server No.200180406
Runtime Server : iFIX Versi 5.5 - Server
Konfigurator & Runtime Server : SISCO AX-S4 Explorer Versi 6.0, OPC Power Tool Versi 7.42a, Proficy iFIX Database Manager Versi 5.5
Konfigurator BCU : Enervista 650 Setup Versi 6.20
Konfigurator IED Proteksi : Enervista UR Setup Versi 6.00
|  |  | Workstation - Advantech ACP2010 | KMA 110 1478 |  |  | Baik
Dongle : iFIX Client No.200180407
Runtime HMI : iFIX Versi 5.5
Konfigurator HMI : iFIX Workspace
|  |  | UPS | KETI-HU10007-7011 |  |  | Baik
Merk : APC
Tipe : RT-3000
|  |  | DC Power Supply | - |  |  | Baik
Merk : Antel
Tipe : SPW 840 - S48
5 | 4T104 | SOGI 4 | Ethernet Switch 1 : | R21-0413-77315 | 2012 | Lab SCADA | Baik | Full
Merek : Ruggedcom
Tipe : RSG2100
|  |  | Ethernet Switch 2 : | R21-0413-77314 |  |  | Baik
Merek : Ruggedcom
Tipe : RSG2100
|  |  | IED BCU | F-NR:BF1304506469 |  |  | Baik
Merk : SIEMENS
Tipe : 6MD662
Versi Firmware : V.4.8
|  |  | IED Proteksi Line Distance | F-NR:BF1304506471 |  |  | Baik
Merk : SIEMENS
Tipe : 7SA5221
Versi Firmware : V.4.7
|  |  | IED Proteksi Line Differrential | F-NR:BF1304506479 |  |  | Baik
Merk : SIEMENS
Tipe : 7SD5221
Versi Firmware : V.4.7
|  |  | IED Proteksi Transformer Differential | F-NR:BF1304506505 |  |  | Baik
Merk : SIEMENS
Tipe : 7UT6131
Versi Firmware : V.4.6
|  |  | IED Proteksi Overcurrent | F-NR:BF1304505912 |  |  | Baik
Merk : SIEMENS
Tipe : 7SJ8031
Versi Firmware : V.4.7
|  |  | IED Proteksi Busbar Protection | F-NR:BF1304500362 |  |  | Baik
Merk : SIEMENS
Tipe : 7SS5220
Versi Firmware : V.4.7
Local HMI
|  |  | Server - Advantech ACP-4010 | KMA1504696 |  |  | Baik
Dongle : Dongle SICAM PAS Versi 7.01
Runtime Server : UI - Operation (SICAM PAS V7.01)
Konfigurator Server/HMI : UI - Configuration (SICAM PAS V7.01)
|  |  | Workstation - Advantech ACP-4320 | KMA1539553 |  |  | Baik
Dongle : Simatic WinCC V7.0
Runtime HMI : Simatic WinCC V7.0
|  |  | DC Power Supply | D0106866 1111 219496 |  |  | Baik
Merk : Quint
Tipe : PS-100-240AC/48DC/5
6 | 4T105 | PANEL | Ethernet Switch : | - | 2017 | Lab SCADA | Baik | Sering
Merek : Ruggedcom
Tipe : RSG2100
|  |  | IED KWH Meter | 1BY01612029400000 |  |  | Baik
Merk : Schneider
Tipe : ION8650
Versi Firmware : -
|  |  | IED AVR | 136389 |  |  | Baik
Merk : ZIV
Tipe : 6RTV
Versi Firmware : -
|  |  | Tap Changer Simulator | 1706-YRBW |  |  | Baik
Merek : -
Tipe : TCS-1.0-48/110
|  |  | DC Power Supply | CWSB-001 |  |  | Baik
Merek : -
Tipe : S1200-100
7 | 4T106 | MASTER STATION | Server | SGH 321W09A | 2012 | Lab SCADA | Baik | full
Merek : HP
Tipe : Proliant DL380
|  |  | Workstation | SGH 309 T25X |  |  | Baik
Merek : HP
Tipe : Z420
|  |  | Ethernet Switch | DNI 1715095N |  |  | Baik
Merk : CISCO
Tipe : SE 500-28
Versi Firmware : 1.2.7.76
|  |  | Serial Module | TACDE1001891 |  |  | Baik
Merek : MOXA
Tipe : Nport 6610-16
Versi Firmware : 1.8 Build 10081211
|  |  | UPS | ISI244001120 |  |  | Baik
Merek : APC
Tipe : SMART UPS
|  |  | GPS | 290110481300 |  |  | Tidak Baik (Rusak)
Merek : MEINBERG
Tipe : LANTIME M300
|  |  | Battery | 7S1224F10166 |  |  | Baik
Merek : APC
Tipe : SMART BATTERY
|  |  | Storage | 84698134500125 |  |  | Baik
Merek : Buffalo
Tipe : TS5400R0804
8 | 4T107 | Alat uji baterai | Merek : Megger | 1002342 | 2011 | Lab. Instalasi | Baik | Jarang Sekali
Tipe : Torkel 840
9 | 4T108 | Alat uji VT | Merek : Omicron | ED372B | 2017 | Lab. Instalasi | Baik | Jarang Sekali
Tipe : Voltano 100
10 | 4T109 | Current Booster | Merek : Omicron | MB752B | 2017 | Lab. Instalasi | Baik | Jarang Sekali
Tipe : CPCU1
11 | 4T110 | Reaktor untuk uji tandelta | Merek : Omicron | EM080R | - | Lab. Instalasi | Baik | Sering
Tipe : CPCR500
12 | 4T111 | Uji PD Generator | Merek : Omicron |  | - | Lab. Instalasi |  | Sering
|  |  | Tipe : MPP600 | DC419T |  |  | Baik
|  |  | Tipe : MPD600 | FA754D |  |  | Baik
|  |  | Tipe : CPL542 | DK748B |  |  | Baik
13 | 4T112 | Power Quality | Merek : Elspec | 00-60-35-16-BC-1C | 2013 | Lab. Instalasi | Baik | Jarang Sekali
Tipe : G4500
14 | 4T113 | Power Quality | Merek : LEM | A550510010/SD85628IE/K56330-010 | 2005 | Lab. Instalasi | Baik | Jarang Sekali
Tipe : Topas1000
15 | 4T114 | CPC100 | Merek : Omicron | LJ566T | - | Lab. Instalasi | Baik | Sering
Tipe :
16 | 4T115 | CPC100 | Merek : Omicron | SE728Y | 2017 | Lab. Instalasi | Baik | Sering
Tipe :
|  | CPC100 | Merek : Omicron | MF033T | 2019 | Lab. Instalasi | Baik | Sering
Tipe :
17 | 4T116 | CPTD1 | Merek : Omicron | HK070R | - | Lab. Instalasi | Baik | Sering
Tipe :
|  | CPTD1 | Merek : Omicron | JB071R | - | Lab. Instalasi | Baik | Sering
Tipe :
18 | 4T117 | Dirana | Merek : Omicron |  | - | Lab. Instalasi | Baik | Sering
Tipe :
19 | 4T118 | SFRA | Merek : Omicron | HA399L | - | Lab. Instalasi | Baik | Sering
Tipe :
20 | 4T119 | Tabula data acquisition | Merek : Powertech | 05202016 | 2017 | Lab. Power System | Baik | Jarang Sekali
Tipe : EC0115
|  |  | Merek : Powertech | 05092016 |  |  | Baik
Tipe : EC0117
|  |  | Merek : Powertech | 05272016 |  |  | Baik
Tipe : EC0118
21 | 4T120 | Power System Analysis Software | Merk : Powerfactory | dongle : 3-3733847 | 2010 | Lab. Power System | Baik | Jarang Sekali
Tipe : Digsilent